## Slide 1: Simple Rules for Choosing and Using Fluorophores for Multicolor Flow Cytometry
®
1. Use the brightest fluorophores available.
2. Use the brightest fluors for lowly-expressed antigens and dim fluors for highly expressed antigens.
4. Use tandems with caution.
6. Avoid over-fixing.
7. Use controls: unstained, isotype, FMO.
3. Minimize spectral overlap.
Brightness
Expression
5. Avoid bright light.
Notes: There are a few basic rules to follow when setting up a multicolor panel. Follow these rules to organize and optimize your results.
-Choose the brightest fluorophores that can be used on your instrument. In our Brightness Index chart, the brightest fluorophores are Brilliant Violet 421™, PE, and APC, so these should considered first.
-Choose the brightest fluorophore for your least expressed protein and the dimmest fluorophore for your most highly expressed protein. To help you, we have compiled a chart to indicate the expression of common surface molecules on blood cells. Generally, molecules like CD45, CD3, CD4, and CD8 are quite highly expressed on their target cell types and can be used quite successfully with dim fluorophores.
-Choose fluorophores with emissions having the least spectral overlap. For example, although Brilliant Violet 421™ and Pacific Blue™ do not have exact the same emission spectra, they did have significant overlap, so you should generally avoid using these together. Use our Spectra Analyzer to view and compare excitation and emission spectra, view laser lines, and add custom bandpass filters.
-Use tandems (PE/Cy5, PE/Cy7, APC/Cy7) with caution, as they are more susceptible to degradation by light exposure and fixation. They are essential to large multicolor panels, so just use them with care to prevent light exposure and use appropriate fixation buffers and protocols.
-Avoid exposing stained samples to bright light as most fluorophores are susceptible to photobleaching, causing them to lose fluorescence. This is particularly true for tandems dyes.
-Avoid incubating cells in fixative for extended periods of time, as this may affect fluorescence, particularly of tandems dyes.
-Use controls for your multicolor experiment: unstained cells, isotype controls of the same species, isotype, and fluorophore as your antibody, and fluorescence minus one controls.